## Slide 1: EBCx Tips and Tricks; Lessons from a Career in the Field Introduction Presented by: David Sellers Senior Engineer, Facility Dynamics Engineering

## Slide 3: Learning Objectives
Attendees will become familiar with and apply assessment techniques to air side economizers that will allow resource and performance improvements to be identified during the design, construction and ongoing operations phases of a system life cycle.
Attendees will be exposed to a number of resources including the Functional Testing Guide, which they can use to support their work moving forward after the class.
Attendees will learn how to calculation power based on a machine’s rated performance characteristics. A pump calculation will be used to illustrate this but a similar approach can be applied to fans.
Attendees will learn how to expand the power calculation to reflect energy consumption and cost based on the local climate and utility rate structure.

## Slide 4: Agenda
Introduction
Airside Economizer Overview
Airside Economizer Evaluation
Airside Economizer Calculation Examples
Evaporator Pump Optimization Assessment
Estimating Pump Head in the Field (Time Permitting)
Pump Optimization (Time Permitting)
Estimating CHW Plant Load in the Field (Time Permitting)

## Slide 5: We’re trying something new
You get to have a firsthand experience as a commissioning provider
You get to functionally test using Poll Everywhere as a way to foster interactive discussion!

## Slide 6: We’re trying something new
You get to functionally test using Poll Everywhere as a way to foster interactive discussion!
You get to have a firsthand experience as a commissioning provider

## Slide 7: How it works
Via text messaging
Step 1
Text DAVIDSELLERS022 to 22333 (the hyphen gets inserted automatically on some phones)

## Slide 8: How it works
Via text messaging
Step 2
Receive confirmation that you have joined the session

## Slide 9: How it works
Via web browser
Step 1
Go to pollev.com/davidsellers022

## Slide 10: How it works
Via web browser
Step 1
Go to pollev.com/davidsellers022

## Slide 11: How it works
Via web browser or text messaging
Step 3
Wait for a poll question to come up

## Slide 13: How it works
Via text messaging
Step 4
Type in your answer …

## Slide 14: How it works
Via text messaging
Step 4
Type in your answer … and send it

## Slide 15: How it works
Via a browser
Step 4
Type in your answer …

## Slide 16: How it works
Via a browser
Step 4
Type in your answer …and submit it

## Slide 17
Via a browser
Step 4
Type in your answer

## Slide 18: Let’s Try It
Via text messaging
Text DAVIDSELLERS022 to 22333 (the hyphen gets inserted automatically on some phones)
Or
Go to pollev.com/davidsellers022 in a web browser

## Slide 19
Notes: Poll Title: Where are you logged in from? https://www.polleverywhere.com/clickable_images/GCHRK5ESQ8KsDt1aQgYSf

## Slide 20
Notes: Poll Title: What are you hoping to get from this class? https://www.polleverywhere.com/free_text_polls/2l9sktZFjn2KafOseHyNE

## Slide 21
Notes: Poll Title: Are you currently doing what you sent out to do when you went to school? https://www.polleverywhere.com/multiple_choice_polls/YUpE2Qg1VREqfanmlDUL1?flow=Default&onscreen=persist

## Slide 22: I’m Not
I intended to be an aircraft maintenance engineer ...

## Slide 23: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 24: Let’s try the “Chat” interface
How many of you were at the social hour last week?
(Type your answer into the chat window)
  How many of you are doing what you went to school to learn to do?

## Slide 25: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 26: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 27: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 28: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 29: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 30: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 31: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 32: I’m Doing Something Totally Different
I intended to be an aircraft maintenance engineer
  How many of you are doing what you went to school to learn to do?
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 33: You Can Too

## Slide 34: I’ve Had Great Mentors Along the Way

## Slide 35: Let’s Try “Unmuting”
When I call on you, unmute and tell us:
Your name
What is your involvement in the Commissioning Industry
How long you have been involved with the Commissioning Industry
(You don’t have to do this if you are uncomfortable doing it)

## Slide 36: How I Taught Field Techniques in the Classroom Previously

## Slide 37: Then, Kathy Needed an Art Studio

## Slide 38: And I Realized This …

## Slide 39: … Could be This

## Slide 40
Notes: Poll Title: Are you comfortable using SketchUp and plan to participate in the exercises that way? https://www.polleverywhere.com/multiple_choice_polls/whAghiU6fvzb41nr1RKlg?flow=Default&onscreen=persist

## Slide 47: Current Conditions
Sacramento, CA location
Foggy; OAT in the low 50°F range
Should burn off mid-afternoon and get up into the 70°F range
Furnace was running when you let your house to visit the site