## Slide 1: This is Cool
Free iPhone app from Motionics
https://apps.apple.com/us/app/strobe-light-tachometer/id978182913

## Slide 2: Given:

## Slide 3: Pipe Diameter from Circumference

## Slide 4: Some Dimensions
20’ Center Lines
25’ Center Lines

## Slide 5: Some Dimensions
18’ Slab to bottom of slab above

## Slide 6: A Few Friction Factors
8 inch pipe at the design flow rate

## Slide 7: A Few Friction Factors
8 inch pipe at the maximum recommended velocity (10 ft/sec)

## Slide 8: A Few Friction Factors
8 inch pipe at the maximum recommended friction rate (4 ftwc/100 ft)

## Slide 9: Some Chiller Data

## Slide 10: A Few Rules of Thumb
If you know the linear feet of pipe, if you multiply that by a factor of 1.5 to 2.0, you will end up with a number representing the equivalent feet of pipe for HVAC systems that includes things like the valves, fittings, etc.
Use engineering judgement
  Straight run with no fittings = multiplier of 1.0
  A run with a few fittings = multiplier of 1.5
  A run with a significant number of fittings = multiplier of 2.0
  A run with a crazy number of fittings = multiplier in excess of 2.0
  Remember, its an estimate, not an exactimate

## Slide 11: What is the head requirement for the evaporator pumps in the plant?