## Instructions
Facility Dynamics Headquarters - 6760 Alexander Bell Drive, Suite 200, Columbia, MD 21046, Phone: (410) 290-0900; www.facilitydynamics.com
Facility Dynamics NW Satellite Location - 8560 North Buchanan Avenue, Portland, Oregon 97203, Phone: ; www.facilitydynamics.com
Engineering Calculation
Date: |  | 2021-07-01 18:56
Project Name:
Project Number:
Engineer: |  | David Sellers
Notice: Facility Dynamics Engineering has provided this spreadsheet to support training classes and personal development. We are happy to have you use it to learn about building systems and related concepts and calculations But you are using it at your own risk and neither FDE nor I can be responsible for the results you generate with it and the decisions you make as a result. Please check your work and use your head. In addition, we consider the spreadsheet to be original work and intellectual property. In other words, we own the spreadsheet and it is copyrighted in our name. Having said that, it is important to us to strike an appropriate balance between a desire to support the industry and pass on knowledge that has been handed down to us by our mentors and people like Isaac Newton and Willis Carrier for example, while protecting our intellectual property rights. So thank you in advance for being conscious of that as you apply this spreadsheet. By opening and working with this file, you are acknowledging that you have read and understand this copyright notice and will comply with its requirements including our list of permissions. To view our permissions, please visit http://www.av8rdas.com/copyright-and-permissions.html.
Overview and General Instructions
1 | The "Initial Cost-Benefit Assessment" tab includes instructions at the top and with many of the rows.
2 | The "Working Table" tab is what I use as a findings list. If you enter data in the cells highlighted in yellow or the colunns with yellow cells over the column heading, the rest of the cells in the table should fill in.
3 | The table is linked up with the cost benefit assessment so that as you develop finding, the projected savings are "firmed up". This can be really useful because sometimes, when you scope a facility, you will discover things that allow you to do a pretty firm estimate for the savings that will be achieved by addressing a particular observation. For instance, if you notice that a pump is throttled by the triple duty valve on its discharge, then you can get a pretty good idea of the savings you will achieve if you can optimize the pump to deliver design flow with out throttling by using the pressure drop curves for the valve to estimate the pressure drop through the throttled valve vs. the wide open valve and then using that pressure drop (which is approximatley the head you will save) along with the design flow rate for the pump in the pump power formula. If you are not familiar with the pump power formula, you will find it (along with others) in the file you can download at this link.
https://www.av8rdas.com/hvac-equations-and-concepts.html
The point is that the spreadsheet is set up to help you see how realistic your initial savings projection was as you scope the facility and develop your findings list. This will allow you to revise your projection appropriately as you get deeper into the project.

## Initial Cost-Benefit Assessment
MBCx/EBCx Project Cost Benefit Assessment from Scoping Phase Data and Industry Metrics | [7 empty] | Steam conversion
Second Version - October | [7 empty] | Meter reading - | 3111520 | lb of steam for 2012 (from Obvious)
This spreadsheet projects what an acceptable budget might be for an MBCx/EBCx project based on the anticipated savings and incentives. The anticipated savings are derived from current utility data and the metrics contained in the LBNL Commissioning Cost/Benefit Studies. Links to the studies are provided below. | [7 empty] | Btu/lb | 1000 | Btu/lb (campus conversion standard)
LBNL Report | Summary |  |  |  | Full Report |  |  | Plant efficiency | 80% | (Campus over-all plant efficiency standard)
The Cost-Effectiveness of Commercial-Buildings Commissioning (Original December 15, 2004 Assessment) | http://cx.lbl.gov/2004-assessment.html |  |  |  | http://evanmills.lbl.gov/pubs/pdf/cx-costs-benefits.pdf |  |  | Btu/therm | 100000 | Btu/therm
Building Commissioning; A Golden Opportunity for Reducing Energy Costs and Greenhouse Gas Emissions (July 21, 2009 Update) | http://cx.lbl.gov/2009-assessment.html |  |  |  | http://cx.lbl.gov/documents/2009-assessment/lbnl-cx-cost-benefit.pdf |  |  | Therms | 38894 | Therms
Monitoring-Based Commissioning: Benchmarking Analysis of 24 UC/CSU/IOU Projects (Focus on MBCx only projects) | http://cx.lbl.gov/mbcx.html |  |  |  | http://evanmills.lbl.gov/pubs/pdf/MBCx-LBNL.pdf
The other tabs in this spreadsheet are the tables we have been using to develop findings lists. This tab references them for some of its information, which is why they are part of the workbook. However, you could extract this tab and use it independently if you supplied the findings list data from some other source. The blue highlighted cells discuss this further where appropriate.
The Cost Benefit Discussion tab contains images showing how we endeavored to use this information in a proposal for a UC Berkeley project to frame our fee in the context of the Owner's payback metrics and project goals.
Cells with the light yellow highlighting are cells that you would need to fill in with project specific information to get meaningful results. Some can ro should be linked as noted
Cells with the light green highlighting are cells that you might want to modify depending on the specifics of your project, the incentive program, if any, your building type, etc.
Cells with the light blue highlighting contain information regarding what the other shaded cells are used for and/or what they mean and how you might go about filling them in.
Cells with the yellow highlighting and the red boarders are the "answers"
Remember that the results you get are only as good as the inputs and event then are an approximation at best. Before you use them, do a quick sanity check somehow to make sure they make sense, especially if you have edited anything because that might affect the formulas.
Project Energy Metrics - Source as indicated
Electric rate - | 0.11893 | $/kWh - Link to the cell with the correct metric in the working table - Just needs to be reasonable and representative of current rates
Thermal energy rate - | 0.77551 | $ per therm - Ditto above
Electrical incentive - | 0 | $ per kWh - Ditto above; Non-utility program driven projects will not have this.
Thermal incentive - | 0 | $ per therm - Ditto above; Non-utility program driven projects will not have this.
Building square footage - | 660000 | Hyperlink to Source
Site energy electrical energy conversion factor - | 3413 | Btu/kWh
Source energy electrical energy conversion factor - | 11484.745 | Btu/Kwh |  |  |  | Source = | EnergyStart Portfolio Manager Source Energy Technical Reference
Source energy thermal energy conversion factor - | 1.05 | Therms at the well head per therm delivered |  |  |  | Source = | EnergyStart Portfolio Manager Source Energy Technical Reference
Annual Consumption - From a baseline report, utility bills, utility meters, etc.
| Energy | $
Electricity - kWh/$ per year |  | 0 | Source = | Hyperlink to Source
Thermal at the Central Plant - Therms/$ per year |  | 0 | Source = | Hyperlink to Source
TOTAL |  | 0 | $ per year
|  | 0 | $ per square foot per year
EUI Factors | Site Energy | Source Energy
Electrical Energy | 0 | 0 | kBtu/sq.ft./yr. | Cross-check this with any other EUI you might have calculated. The should agree
Thermal Energy | 0 | 0 | kBtu/sq.ft./yr. | Cross-check this with any other EUI you might have calculated. The should agree
Total | 0 | 0 | kBtu/sq.ft./yr. | Cross-check this with any other EUI you might have calculated. The should agree
Savings Projection Based on the LBNL Cost Benefit Study
LBNL Cx Cost Benefit Median Energy Savings (2009 update) - | 16% | of Whole Building Energy Consumption. |  |  | This is the median value reported for existing building commissioning in the 2009 update to the original report. If you look at the report that focuses on MBCx only projects, the savings range was quite broad; 2 to 25%. So I used this number because it is in the middle of that range, it is citable, and it is consistent with my personal experience over the years. Generally, it should be a good default. But it could also be set based on past experience with other projects, especially other projects at a certain location or with a certain client. Or it could be tuned to a specific building type from data in the LBNL reports.
| Low End | High End
Potential savings range for the purposes of our discussion - | 10% | 16% | High end set from metric above, low end set at 62.5% of the high end to create a range; either could be set manually instead.
Potential annual savings - | 0 | 0 | $ per year
Percentage of the annual savings to be allocated electricity - | #DIV/0!
Percentage of the annual savings to be allocated to thermal - | #DIV/0!
Potential electrical savings - | #DIV/0! | #DIV/0! | kWh per year
| #DIV/0! | #DIV/0! | $ per year
Potential thermal savings - | #DIV/0! | #DIV/0! | Therms per year
| #DIV/0! | #DIV/0!
Projected EUIs Post Implementation
| Low End |  | High End
| Site Energy | Source Energy | Site Energy | Source Energy
Electrical Energy | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | kBtu/sq.ft./yr.
Thermal Energy | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | kBtu/sq.ft./yr.
Total | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | kBtu/sq.ft./yr.
Potential electrical savings already identified - | #DIV/0! | #DIV/0! | Average kWh per year from the findings list |  |  | Source = | ..\..\..\..\..\ComIT\Project Data\UCB_MinorAddtn\Rons Report\Minor Addition ECM Implementation Recommendation Report (October 9, 2013).pdf
| #DIV/0! |  | Average $ per year from the findings list
% of potential electrical savings - | #DIV/0! | #DIV/0!
Potential thermal savings already identified - | #DIV/0! | #DIV/0! | Average therms per year from the findings list |  |  | Source = | ..\..\..\..\..\ComIT\Project Data\UCB_MinorAddtn\Rons Report\Minor Addition ECM Implementation Recommendation Report (October 9, 2013).pdf
| #DIV/0! |  | Average $ per year from the findings list
% of potential thermal savings - | #DIV/0! | #DIV/0!
Potential non-energy savings already identified - | 0 | 0 | Average $ per year from the findings list | [5 empty] | 0.80001
Total savings already identified - | #DIV/0! | 0 | Average $ per year from the findings list
| #DIV/0! | #DIV/0! | % of LBNL based projection
Potential electrical incentive - | #DIV/0! | #DIV/0! | $ | These figures are calculated from other parameters in the spreadsheet. For programs that have no utility incentives, they will be zero.
Potential thermal incentive - | #DIV/0! | #DIV/0! | $
Expenditure Justified by Anticipated Savings
Simple payback time frame - | 5 | years | 10 | years | This is where you enter the simple payback range that is acceptable to the Owner
Savings range - | Low End | High End | Low End | High End | These figures are calculated from other parameters in the spreadsheet. In general terms, they reverse engineer a budget based on the Owner's acceptable simple payback parameters. If there are utility incentives, they are added to the energy savings based budget, meaning the simple payback will be achieved after the incentives are subtracted from the over-all project costs.
Energy savings after the indicated interval, 2013 $ - | 0 | 0 | 0 | 0
Incentive, 2013 $ - | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total, 2013 $ - | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Project Budget based on Past Project Metrics
Item | 5 Year Simple Payback, Average Savings | [5 empty] | The budget dollars and $/sq.ft. parameters here are calculated based on other parameters in the spreadsheet. The percentages used to prorate the budget and the categories shown are based on two projects where I had access to the full budget information (I kind of wasn't supposed to so we should not exactly advertise that). They are representative of our experience with the UCB MBCx program and probably are not a bad way to assess other similar programs. For other projects and clients, you may need to add different budget components or change the percentages allocated to various items. If you do that, be aware that some of the percentages are calculated from others based on what was known and what was unknown for the UCB work. Specifically, the non-highlighted cells are calculated from the highlighted cells. So, if you make changes, be sure that everything adds up. That is the purpose of the check row. The numbers there should match the bottom line in the table. Of course, your edits could affect that to so verify your formulas if you start editing.
| Contractor Intensive (Le Conte ECM Basis) |  |  | Non-Contractor Intensive (Le Conte MBCx Basis)
| % of Total | $ | $/sq.ft. | % of Total | $ | $/sq.ft.
Project Technical Support
FDE Scoping | 2% | #DIV/0! | #DIV/0! | 9% | #DIV/0! | #DIV/0!
FDE Implementation | 24% | #DIV/0! | #DIV/0! | 29% | #DIV/0! | #DIV/0!
FDE TOTAL | 26% | #DIV/0! | #DIV/0! | 38% | #DIV/0! | #DIV/0!
Capital Projects | 3% | #DIV/0! | #DIV/0! | 12% | #DIV/0! | #DIV/0!
Physical Plant | 1% | #DIV/0! | #DIV/0! | 1% | #DIV/0! | #DIV/0!
TOTAL - Project Technical Support | 30% | #DIV/0! | #DIV/0! | 51% | #DIV/0! | #DIV/0!
Metering | 0% | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0!
Construction/Contractors | 68% | #DIV/0! | #DIV/0! | 44% | #DIV/0! | #DIV/0!
Contingency | 2% | #DIV/0! | #DIV/0! | 5% | #DIV/0! | #DIV/0!
TOTAL | 100% | #DIV/0! | #DIV/0! | 100% | #DIV/0! | #DIV/0!
Check | 100% | #DIV/0! |  | 100% | #DIV/0!
Item | 10 Year Simple Payback, Average Savings
| Contractor Intensive (Le Conte ECM Basis) |  |  | Non-Contractor Intensive (Le Conte MBCx Basis)
| % of Total | $ | $/sq.ft. | % of Total | $ | $/sq.ft.
Project Technical Support
FDE Scoping | 2% | #DIV/0! | #DIV/0! | 9% | #DIV/0! | #DIV/0!
FDE Implementation | 24% | #DIV/0! | #DIV/0! | 29% | #DIV/0! | #DIV/0!
FDE TOTAL | 26% | #DIV/0! | #DIV/0! | 38% | #DIV/0! | #DIV/0!
Capital Projects | 3% | #DIV/0! | #DIV/0! | 12% | #DIV/0! | #DIV/0!
Physical Plant | 1% | #DIV/0! | #DIV/0! | 1% | #DIV/0! | #DIV/0!
TOTAL - Project Technical Support | 30% | #DIV/0! | #DIV/0! | 51% | #DIV/0! | #DIV/0!
Metering | 10% | #DIV/0! | #DIV/0! | 10% | #DIV/0! | #DIV/0!
Construction/Contractors | 58% | #DIV/0! | #DIV/0! | 34% | #DIV/0! | #DIV/0!
Contingency | 2% | #DIV/0! | #DIV/0! | 5% | #DIV/0! | #DIV/0!
TOTAL | 100% | #DIV/0! | #DIV/0! | 100% | #DIV/0! | #DIV/0!
Check | 100% | #DIV/0! |  | 100% | #DIV/0!

## Working Table
Facility Dynamics Headquarters - 6760 Alexander Bell Drive, Suite 200, Columbia, MD 21046, Phone: (410) 290-0900; www.facilitydynamics.com
Facility Dynamics Satellite Location - 8560 North Buchanan Avenue, Portland, Oregon 97203, Phone: ; www.facilitydynamics.com
Date: | 2017-02-27 10:39
Project Name:
Project Number:
Engineer: | David
Assumptions
1 |  | Electric rate = | 0.11893 | $ per kWh |  | Source - | ..\Utility Data\SFOBG Utilities 2016.xlsx
2 |  | Gas rate = | 0.77551 | $ per therm |  | Source - | ..\Utility Data\SFOBG Utilities 2016.xlsx
3 |  | Steam rate = |  | $ per therm
4 |  | Water rate = | 0.011581 | $ per gallon |  | Source - | ..\Utility Data\SFOBG Utilities 2016.xlsx
5 |  | Steam thermal content = | 1000 | btu/pound
6 |  | Electrical incentive = | 0 | per kWh
7 |  | Thermal incentive = | 0 | per therm
Working Table | Enter data in to the columns with a yellow header for each finding as it is developed and the rest of the columns should calculate accordingly
| Number | Brief Description | Total Savings $ |  | Incentive, $ |  | Implementation Cost Projections, $ |  | Implementation Cost After Incentives, $ |  | Simple Payback Range After Incentives, Years |  | Electricity | [5 empty] | Gas |  |  |  | Other Savings | [5 empty] | Notes | NOTES
[13 empty] | kWh savings |  |  |  | kW savings |  | Therm Savings | [10 empty] | 1
[13 empty] | Low end |  | High end |  | Low End | High End | Low end |  | High end |  | Low end |  |  | High end |  |  |  | 2
|  |  | Low End | High End | Low End | High End | Low End | High End | Low End | High End | Low End | High End | kWh | $ | kWh | $ |  |  | Therm | $ | Therms | $ | Amount | Units | $ | Amount | Units | $
| 1 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| 2 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0 |  | 3
| 3 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| 4 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| 5 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| 6 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| 7 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0 |  | 4
| 8 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| 9 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0 |  | 5
| 10 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| 11 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| 12 |  | To Be Determined | To Be Determined | None Offered | None Offered |  |  | 0 | 0 | To Be Determined | To Be Determined | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | None | N/A | 0 | None | N/A | 0
| TOTALS |  | To Be Determined | To Be Determined | None Offered | None Offered | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined | To Be Determined |  |  | To Be Determined |  |  | To Be Determined
0
0