## Slide 1: 2020 RCx Academy Week 6 Assessing an Economizer
10 June 2020

## Slide 2: A Few References That May be Helpful
Economizer Evaluation Checklist
https://www.av8rdas.com/economizer-evaluation-checklist.html
Economizer Stratification Video
https://www.av8rdas.com/economizer-stratification.html
Economizer Stratification Blog Post
https://av8rdas.wordpress.com/2013/01/17/retrocommissioning-findings-economizer-mixed-air-plenum-stratificationoverview/
Pacific Energy Center Economizers; Design, Performance and Commissioning Issues Class Materials
https://www.av8rdas.com/pacific-energy-center-design-performance-and-commissioning-issues-classes.html#Economizers

## Slide 3: For the Purposes of This Exercise:
    The Hijend Hotel has been relocated to Sacramento California
      That’s why Sacremento climate data has been provided
      This makes the freezestat more important

## Slide 4: Our Goals
Given:
The economizer evaluation checklist
Sacramento climate data
Field notes taken on the day in question
Current conditions
  Foggy
  Outdoor temperatures in the low 50’s°F
  A full Ball Room that appears to be holding the 72°F/50% RH target
  An AHU discharge temperature of 51°F
  A wet cooling coil
The images that follow
Do the following
Evaluate the economizer in the context of an RCx/Ongoing Cx process
  What would your next steps be?
  Note that there may be some items you can not evaluate with the information you have been given
  Identify what additional information you would like to see for the evaluation

## Slide 5: Supporting Data
Economizer Evaluation Checklist
Bin plot for Sacramento on a psych chart
Bin data for Sacramento
Sacramento TMY3 file
Field notes from a temperature and velocity traverse that was taken
The control system logic for the discharge temperature control process
The images that follow

## Slide 6: Economizer/Mixed Air Section Plan View

## Slide 7: Equipment Overview

## Slide 8: Equipment Overview

## Slide 9: Equipment Overview

## Slide 10: Filter Bank

## Slide 11: Filter Detail

## Slide 12: Mixed Air Plenum Overview

## Slide 13: Mixed Air Plenum Overview – Heating Coil Hidden

## Slide 14: Outdoor Air Temperature Sensor

## Slide 15: Return Air Temperature Sensor

## Slide 16: Return Air Temperature Sensor

## Slide 17: Dampers Viewed from Actuator Side

## Slide 18: Outdoor Air Damper from Inside the OA Duct

## Slide 19: Outdoor Air Damper Blade Close-up

## Slide 20: Return Air Damper Blade Close-up

## Slide 21: Relief Dampers - Overview

## Slide 22: Relief Dampers – Close-up

## Slide 23: Relief Dampers – Actuator and Blade Close-up

## Slide 24: Return Air Damper Measurements - Overview

## Slide 25: Return Air Damper Measurements - Height

## Slide 26: Return Air Damper Measurements - Width

## Slide 27: Outdoor Air Damper Measurements - Overview

## Slide 28: Outdoor Air Damper Measurements - Height

## Slide 29: Outdoor Air Damper Measurements - Width

## Slide 30: Relief Dampers – Measurements Overview

## Slide 31: Relief Dampers – Measurements - Width

## Slide 32: Relief Dampers – Measurements - Height

## Slide 33: Mixed Air Plenum Looking in the Direction of Airflow, Filters Hidden

## Slide 34: Control Device

## Slide 35: Minimum Outdoor Air Regulation
How is minimum outdoor air regulated for this system?
How well do you think the strategy will work?
What are some of the assumptions behind the strategy?
Do you think the system is in the correct operating mode?
If Doreen had not told you that they targeted 25% minimum outdoor air, is there a way you could have estimated the design value from the construction documents?

## Slide 37: Minimum Outdoor Air Regulation
How is minimum outdoor air regulated for this system?
How well do you think the strategy will work?
What are some of the assumptions behind the strategy?
Do you think the system is in the correct operating mode?
If Doreen had not told you that they targeted 25% minimum outdoor air, is there a way you could have estimated the design value from the construction documents?

## Slide 38: Damper Sizing
Given the rules of thumb you have learned for estimating air handling unit flow rates and damper sizing, how well do you think the dampers are sized?

## Slide 39: Damper Configuration, Condition, Orientation and Mixing
Are there any issues with the arrangement and condition of the dampers?
How well is the mixed air plenum set up to mix?
How well is it performing based on the test data you have?

## Slide 40: Sensors and Controls – Part 1 – Field Conditions
Given a new rule of thumb:
  There should be approximately 2 feet of averaging element and freezestat element for every 4 square feet of air handling unit cross sectional area
Do you think the existing sensor arrangement is adequate?
Is a freezestat an averaging sensor?
Is the hot water coil a preheat coil?
Do the various heat transfer processes appear to be properly coordinated?

## Slide 41: Hot Water Coil Leaving Air Temperature

## Slide 42: Hot Water Coil Pipe Temperatures

## Slide 43: Supply Air Temperature

## Slide 44: Sensors and Controls – Part 2 – Control Logic
What type of economizer high limit control is provided?
Is the limit control appropriately set?
Is there a mixed air low limit cycle?
If Doreen tells you that they have a hard time getting the unit to start during cold weather due to nuisance freezestat trips, what do you think might be wrong?
Is the relief air system working properly?
Is the economizer properly integrated with the other heat transfer elements?