## Slide 1: Existing Building Commissioning Workshop: Series 16, Session 4
A Field Introduction to Hot Gas Bypass and the Vapor Compression Cycle
David Sellers
Senior Engineer, Facility Dynamics Engineering
Presented By:

## Slide 2: Vapor Compression Refrigeration Machines
An application of saturated system and phase change principles and concepts

## Slide 3
Evaporation
Compression
Condensation
Expansion

## Slide 4: An Air Cooled Vapor Compression Cycle Chiller

## Slide 6: An Air Cooled Vapor Compression Cycle Chiller

## Slide 7
Evaporator
Suction Line
Liquid Line
Liquid Line Solenoid Valve
Hot Gas Line

## Slide 8: Which Pipe is Which
Suction Line
Liquid Line
Hot gas line
Largest, coldest and insulated
Smallest, warm, usually not insulated
Size between suction and liquid line size, hot, typically not insulated

## Slide 9
Evaporator
Filter Dryer (Not shown on diagram)
Service Valves (Not shown on diagram
Service Bypass to Allow Filter Dryer to be Serviced (Not shown on diagram

## Slide 10
Chilled Water Pipes
Liquid Line Solenoid Valve
Liquid Lines
Suction Line

## Slide 11
Evaporator
Compressor
Liquid Line
Hot Gas Line
Suction Line

## Slide 12
Compressor
Compressor
Suction Line
Hot Gas Lines

## Slide 13
Compressor
Suction Line

## Slide 14
Unloaders

## Slide 15
Crank Case Heater

## Slide 16
Crank Case Heater

## Slide 17
Oil Sight Glass

## Slide 18: Hand Pump for Adding Oil

## Slide 19: Vacuum Pump Evacuating the System in Preparation for Charging
Vacuum Pump

## Slide 21
Condenser
Compressor
Receiver

## Slide 22
Condenser

## Slide 23
Condenser
Receiver
Liquid Line Solenoid Valve
Expansion Valve
Evaporator
Compressor

## Slide 24
Liquid Line Solenoid Valve
Expansion Valve
Liquid Lines
Suction Line

## Slide 25: Electronic Expansion Valve Controllers

## Slide 26: A Refrigerant Sight Glass

## Slide 27: Typical Control Switches

## Slide 28: Adding Hot Gas Bypass
Hot Gas Solenoid
Hot Gas Regulator

## Slide 29
Hot Gas Bypass Lines
Hot Gas Solenoid Valve
Service Valve
Hot Gas Regulator

## Slide 30
Hot Gas Connections to the Evaporator