## Slide 1: Existing Building Commissioning Workshop: Series 17, Session 2
Introduction to System Diagrams and the System Concept
David Sellers
Senior Engineer, Facility Dynamics Engineering
Presented By:

## Slide 2: Self Study; Where You Should Be
Skills Guidebook
Checklist

## Slide 3: System Diagraming Resources
Essential Blog Posts:
https://av8rdas.wordpress.com/2010/08/21/system-diagrams-essential-design-and-commissioning-tools/
https://av8rdas.wordpress.com/2010/08/27/system-diagrams-physically-complex-schematically-simple/
https://av8rdas.wordpress.com/2010/08/30/system-diagrams-untangled-it-it-should-look-like-a-ladder-on-its-side/
https://av8rdas.wordpress.com/2010/09/02/system-diagrams-order-of-connection-matters/

## Slide 4: System Diagraming Resources
Supplementary Blog Posts; start with:
https://av8rdas.wordpress.com/2010/09/03/system-diagrams-untangling-the-pacific-energy-center-ice-storage-system/
For a complete list, use the drop-down “Category” menu and select “System Diagrams”

## Slide 5: System Diagraming Resources
Visit the System Diagram Symbols Cx Resources Website Page
https://www.av8rdas.com/system-diagram-symbols.html
Download the files that will be helpful to you
Study the Symbols and Learn What They Represent

## Slide 6: Self Study; Where You Should Be Headed
Skills Guidebook
Checklist

## Slide 7: Monitoring Plan Resources
Resources linked from the technical guide
Resources on the Commissioning Resources Website
  https://www.av8rdas.com/monitoring-plan-spreadsheet.html

## Slide 8: Datalogging and Control Systems are Intimately Related
To prepare for the next class, visit the Logic Diagram Tool page of the Commissioning Resources website
https://www.av8rdas.com/logic-diagram-tool.html
Download the Logic Diagram Tool file
Download the Logic Diagram Symbols file
Review the Logic Diagram Symbols file as time permits and be prepared to ask questions
Download and explore the other resources as time and interest permits

## Slide 9: System Diagrams and the System Concept

## Slide 10: Its Not Just a Heat Exchanger … …It’s a Hot Water System

## Slide 11: Its Not Just a Heat Exchanger … …It’s a Hot Water System

## Slide 12: Its Not Just an Air Handling Unit … …It’s an Air Handling System

## Slide 13: Its Not Just an Air Handling Unit … …It’s an Air Handling System

## Slide 14: Physically Complex, Schematically Simple

## Slide 15: Basic Concepts

## Slide 16: “Like a Ladder on its Side” Chuck McClure

## Slide 17: Chuck’s Concept vs. the Designer’s Concept

## Slide 18: A Ladder On Its Side in Japanese
横にはしごのように
Yoko ni hashigo no yō ni
We're doing that Japan training this week …. Just thought you'd want to know that the phrase "Ladder on its side" has officially been translated into another language!!
Brian Clark
Mechanical Engineer, Energy Branch
Construction Engineering Research Laboratory
US Corps of Engineers
Former EBCx Workshop Student

## Slide 19: No Rules about Rungs and Rails

## Slide 20: No Rules about Rungs and Rails

## Slide 21: No Rules about Rungs and Rails

## Slide 22: What If it’s a Big Ladder?

## Slide 23: Elbows Don’t Matter

## Slide 24: Tees Matter

## Slide 25: Order of Connection is Critical
How It Was Drawn
How It Was Piped

## Slide 26: Getting Started

## Slide 27: Hand Drawn is Fine

## Slide 28: Hand Drawn is Fine

## Slide 29: What’s That Thing?
You May Run Into “Things” You Don’t Recognize
Take a picture
Take a picture of the nameplate
  Look it up online
  Turbo Encabulator YouTube Video
  Send the picture to Ryan and I
Draw a box with a question mark
Keep on keeping on

## Slide 30: Rules are Made to be Broken

## Slide 31: Courtesy Michael Long, EBCx 16
SV
SV
Marley NC Steel Cooling Tower
Model: NC8402PAN2
Induced draft, crossflow
2 cells, 2 fan motor@ 15HP each
Total Capacity – 872 tons
Total water flow – 2100 gpm
CDWP 2
CDWP 1
Bell & Gossett 1510 6BC
1050 gpm @ 70 ft w.c.
65% efficiency
1,770 rpm, 25 hp motor
16 psi
8 psi
Chiller
2
7 psi
88F
12 psi
74F
68F
10 psi
12 psi
PEP Filters
Centrifugal Sand Separator
82F
CT 1
CT 2
Chiller
1
Make-up Water
Blowdown
i
i