## Slide 1: Light Switching Strategies
David Sellers; Facility Dynamics Engineering
Senior Engineer

## Slide 2: One-way Switch
+120 vac
N

## Slide 3: One-way Switch
+120 vac
N

## Slide 4: Dimmer
+120 vac
N
Lo
Off
Hi

## Slide 5: Dimmer
+120 vac
N
Lo
Off
Hi

## Slide 6: Dimmer
+120 vac
N
Lo
Off
Hi

## Slide 7: Dimmer
+120 vac
N
Lo
Off
Hi

## Slide 8: Three-way Switch
+120 vac
N

## Slide 9: Three-way Switch
+120 vac
N

## Slide 10: Three-way Switch
+120 vac
N

## Slide 11: Your Homework
Make a logic diagram that replicates a three-way switch
  Digital inputs = 2 switches in the space
  Digital outputs = 1 relay that controls the lights
There is more than one way to do it
It should not take more than 15-30 minutes
  If you are frustrated at that point, get in touch with Ryan for a bit of mentoring
If you want a bit more of a challenge, try making the logic for the four-way switch in the slides that follow
Note that:
  Three-way and four-way are references to how many current paths (wires) are connected to the switch,
  It’s Not the number of switches in the circuit
  It’s Not the number of positions that the switch can be in

## Slide 12: Four-way Switch
+120 vac
N

## Slide 13: Four-way Switch
+120 vac
N

## Slide 14: Four-way Switch
+120 vac
N

## Slide 15: Four-way Switch
+120 vac
N