## Slide 1: Life, Mentoring, and Commissioning Presented by: David Sellers Senior Engineer, Facility Dynamics Engineering

## Slide 2: Are Doing What You Set Out to Do When You Went to School?

## Slide 3
What Commissioning Has Taught Us About Mentoring and Design
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.

## Slide 4
What Mentors Have Taught Us About Commissioning and Design
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.

## Slide 5
What Mentors Have Taught Me About Commissioning and Design
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.

## Slide 6
What Mentors Have Taught Me About Commissioning and Design
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.
Fill slide with mentor pictures and fade text

## Slide 7
Maybe your heart is telling you something and you should listen
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.
Fill slide with mentor pictures and fade text

## Slide 8
Davey, no matter how much you love what you do, it should never be more than 49% of your life
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.
Fill slide with mentor pictures and fade text

## Slide 9
Try to be the type of person your dog believes you are
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.
Fill slide with mentor pictures and fade text

## Slide 10
Think Outside the Box
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.
Fill slide with mentor pictures and fade text

## Slide 11: Two Things that have Always Been

## Slide 12: Two Things that have Always Been

## Slide 13: Two Things that have Always Been

## Slide 14: The Common Thread

## Slide 15: An Underlying Connection with the Earth
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up

## Slide 16: I Also Liked to Build Things

## Slide 17: I Also Liked to Build Things
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up

## Slide 18: Dad Takes Me to Oregon
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up

## Slide 19: Dad Takes Me to Oregon
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams

## Slide 20: I Set Out for a Career in Aviation
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams

## Slide 21: I Set Out for a Career in Aviation
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams

## Slide 22: I Set Out for a Career in Aviation
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless

## Slide 23: I Work as an A&P and Lab Instructor
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless

## Slide 24: I Work as an A&P and Lab Instructor
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors set professional goals
Mentors are proud of you

## Slide 25: Reality Intervenes
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors set professional goals
Mentors are proud of you

## Slide 26: Reality Intervenes
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors set professional goals
Mentors are proud of you

## Slide 27: Reality Intervenes
Mentor’s answer dumb questions with out judgement
Mentors help you see things differently
Mentors say thing’s like The goes intas gotta equal the goes outas
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors set professional goals
Mentors are proud of you
    … that is to practice our profession with an emphasis upon our responsibility to protect the long-range interests of the society we serve and, specifically, to incorporate the ethics of energy conservation and environmental preservation in everything we do.
  ASHRAE Journal, vol. 42, no. 7, p. 16-21
  www.ASHRAE.org

## Slide 28: Inspiration Follows
Mentor’s answer dumb questions with out judgement
Mentors help you see things differently
Mentors say thing’s like The goes intas gotta equal the goes outas
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors set professional goals
Mentors are proud of you
  Energy Conservation is an Ethic
    … that is to practice our profession with an emphasis upon our responsibility to protect the long-range interests of the society we serve and, specifically, to incorporate the ethics of energy conservation and environmental preservation in everything we do.
  ASHRAE Journal, vol. 42, no. 7, p. 16-21
  www.ASHRAE.org

## Slide 29: Inspiration Follows
Mentor’s answer dumb questions with out judgement
Mentors help you see things differently
Mentors say thing’s like The goes intas gotta equal the goes outas
Mentor’s inspire you
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors sets professional goals
Mentors are proud of you
  Energy Conservation is an Ethic
    … that is to practice our profession with an emphasis upon our responsibility to protect the long-range interests of the society we serve and, specifically, to incorporate the ethics of energy conservation and environmental preservation in everything we do.
  ASHRAE Journal, vol. 42, no. 7, p. 16-21
  www.ASHRAE.org

## Slide 30
The possibility that there could be an energy crisis can be intuitively derived from a logical assessment of the information
Sometimes where you end up is foreshadowed by early life experience
Mentor’s answer dumb questions with out judgement
Mentors help you see things differently
Mentors say thing’s like The goes intas gotta equal the goes outas
Mentor’s inspire you
Mentors know your history and advocate for good decisions
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors sets professional goals
Mentors are proud of you

## Slide 31
The possibility that there could be an energy crisis can be intuitively derived from a logical assessment of the information
Sometimes where you end up is foreshadowed by early life experience
Mentor’s answer dumb questions with out judgement
Mentors help you see things differently
Mentors say thing’s like The goes intas gotta equal the goes outas
Mentor’s inspire you
Mentors know your history and advocate for good decisions
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors sets professional goals
Mentors are proud of you

## Slide 32
The possibility that there could be an energy crisis can be intuitively derived from a logical assessment of the information
Sometimes where you end up is foreshadowed by early life experience
Mentor’s answer dumb questions with out judgement
Mentors help you see things differently
Mentors say thing’s like The goes intas gotta equal the goes outas
Mentor’s inspire you
Mentors know your history and advocate for good decisions
Mentor Characteristics
Mentor share their passion
Mentors provides guidance by leading you, not telling you
Mentors follow up
Mentors share dreams
Mentors are a bit selfless
Mentors encourages self esteem
Mentors sets professional goals
Mentors are proud of you

## Slide 33: Do you think you have been blessed with one or more great mentors?

## Slide 34
What Mentors Have Taught Me About Commissioning and Design
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.
Fill slide with mentor pictures and fade text

## Slide 35
What Buildings Have Taught Me About Commissioning and Design
Notes: When Michael asked me to do this, I was not sure I was a plenary speaker type of guy
But then he told me the title and I figured I might be O.K. at this one since I have been blessed with great mentors for my entire career.
Fill slide with mentor pictures and fade text

## Slide 36
What Commissioning Has Taught Us About Mentoring and Design Mentoring Us About Design
Commissioning is a Process During Which Buildings Are Mentoring Us About Design
What Commissioning Has Taught Us About Mentoring and Design
What Commissioning Has Taught Us About Mentoring and Design
What Commissioning Has Taught Us About Mentoring and Design

## Slide 37: Airside Economizers
A Very Common HVAC Process
Significant energy savings potential
Simple in concept
Challenging to make/keep working

## Slide 38: Airside Economizers
A Very Common HVAC Process
Significant energy savings potential
Simple in concept
Challenging to make/keep working

## Slide 39: A Typical One Pipe Pneumatic Control System
M
Actuator
Air Supply (“Main” Air)
Nozzle
Restrictor T
Controller
“Flapper”
Filter
Gauge
Restrictor
Diaphragm
Piston
Spring

## Slide 40: A Typical One Pipe Pneumatic Control System
M
A wide open flapper causes more of a pressure drop due to flow at the orifice in the restrictor tee than a flapper that has moved closer to the nozzle. As a result, the pressure down stream of the orifice is relatively low and the actuator retracts

## Slide 41: A Typical One Pipe Pneumatic Control System
M
As the flapper closes, the flow and pressure drop due to flow through the restrictor tee orifice is reduced. As a result, the pressure down stream of the orifice builds and the actuator extends

## Slide 42: A Typical One Pipe Pneumatic Control System
M
As the flapper closes, the flow and pressure drop due to flow through the restrictor tee orifice is reduced. As a result, the pressure down stream of the orifice builds and the actuator extends

## Slide 43: A Typical One Pipe Pneumatic Control System
M
As the flapper closes, the flow and pressure drop due to flow through the restrictor tee orifice is reduced. As a result, the pressure down stream of the orifice builds and the actuator extends

## Slide 44: A Typical One Pipe Pneumatic Control System
M
Flapper motion in the opposite direction increases the airflow through the restrictor tee orifice, the pressure downstream of the orifice drops again, and the actuator retracts

## Slide 45: A Typical One Pipe Pneumatic Control System
M
Flapper motion in the opposite direction increases the airflow through the restrictor tee orifice, the pressure downstream of the orifice drops again, and the actuator retracts

## Slide 46: A Typical One Pipe Pneumatic Control System
M
Flapper motion in the opposite direction increases the airflow through the restrictor tee orifice, the pressure downstream of the orifice drops again, and the actuator retracts

## Slide 47: A Typical One Pipe Pneumatic Control System
M
Flapper motion in the opposite direction increases the airflow through the restrictor tee orifice, the pressure downstream of the orifice drops again, and the actuator retracts

## Slide 48: A Typical One Pipe Pneumatic Control System
M
Flapper motion in the opposite direction increases the airflow through the restrictor tee orifice, the pressure downstream of the orifice drops again, and the actuator retracts

## Slide 49: Memorial Hospital of Carbondale
Joe Cook
Didn’t kill me
Demonstrated that the building knows the answer, you just have to figure out how to ask the question

## Slide 50: Memorial Hospital of Carbondale
Joe Cook
Didn’t kill me
Demonstrated that the building knows the answer, you just need to figure out how to ask the question

## Slide 51: Pump Optimization
Another Common Opportunity

## Slide 52: Pump Optimization
My first pump selection
Dead on at start-up (but I had a safety factor in there)
Learned about the affinity laws
  Tested impeller lines will be different from projected lines
Used my first VFD to run a pump at 68 hz to adapt it to a new operating condition

## Slide 53: Some Bottom Lines
Mentors have a lot they can share with us from their experience with life and careers
Buildings and building systems have a lot to teach us if we get out there and “get dirty”

## Slide 54: How Many of You Aspire to be Mentors?

## Slide 55: Why This Matters
We went to explore the Moon, and in fact discovered the Earth
Gene Cernan
Apollo 17 Commander
Image courtesy NASA Image Archives; https://www.nasa.gov/multimedia/imagegallery/index.html

## Slide 56: Why This Matters
In a highway service station
Over the month of June
Was a photograph of the earth
Taken coming back from the moon
And you couldn't see a city
On that marbled bowling ball
Or a forest or a highway
Or me here least of all
Joni Mitchell
Refuge of the Roads
Image courtesy NASA image archives https://www.nasa.gov/multimedia/imagegallery/image_feature_1249.html

## Slide 57: Why This Matters
Holy Earth
How can we heal you?
We cover you like a blight...
Strange birds of appetite...
If I had a heart I'd cry.
Joni Mitchell
If I Had a Heart
Image courtesy NASA image archives https://www.nasa.gov/multimedia/imagegallery/image_feature_1249.html

## Slide 58: Why This Matters
How can the spirit of the earth like the white man?...
Everywhere the white man has touched it, it is sore.
Wintu Holy Woman
Image courtesy NASA image archives https://www.nasa.gov/multimedia/imagegallery/image_feature_1249.html

## Slide 59: Why This Matters
Image courtesy NASA Image Archives; https://www.hq.nasa.gov/office/pao/History/ap11ann/kippsphotos/6550.jpg
Interviewer:
What is your strongest memory of Apollo 11?
Michael Collins; Command Module Pilot, Apollo 11
Looking back at Earth from a great distance.
I really believe that if the political leaders of the world could see their planet from a distance of 100,000 miles their outlook could be fundamentally changed.
The earth must become as it appears: blue and white, not capitalist or Communist; blue and white, not rich or poor; blue and white, not envious or envied.
Small, shiny, serene, blue and white, FRAGILE.

## Slide 60: Why This Matters
Image courtesy NASA Image Archiveshttps://www.nasa.gov/image-feature/earth-as-viewed-from-10000-miles
Interviewer:
That was 40 years ago. Would it look the same today?
Michael Collins; Command Module Pilot, Apollo 11
… It's certainly not serene, but definitely fragile, and growing more so. When we flew to the moon, our population was 3 billion; today it has more than doubled and is headed for 8 billion…
… The loss of habitat, the trashing of oceans, the accumulation of waste products - this is no way to treat a planet.

## Slide 61: Why This Matters
Image courtesy NASA/OSIRIS-REx team and the University of Arizona
Interviewer:
That was 40 years ago. Would it look the same today?
Michael Collins; Command Module Pilot, Apollo 11
… It's certainly not serene, but definitely fragile, and growing more so. When we flew to the moon, our population was 3 billion; today it has more than doubled and is headed for 8 billion…
… The loss of habitat, the trashing of oceans, the accumulation of waste products - this is no way to treat a planet.

## Slide 62: The very success of the human species over eons of time now threatens our extinction. It is the drive that made for success that must now be curbed, redirected, or released by expansion into a new world ecology. If we can find people skillful enough to reach the Moon, certainly we can find people to solve our environmental problems Neil Armstrong

## Slide 63: You Are Those People
We are running out of silver bullets
Jay Santos

## Slide 64: You Are the Silver Bullets
We are running out of silver bullets
Jay Santos

## Slide 65: You Are the Next “Greatest Generation”
Continue working to solve the problem
Continue to take advantage of the opportunities places like the Pacific Energy Center offer
Share what you learn
Have fun doing it

## Slide 66: You Are the Next “Greatest Generation”
Continue working to solve the problem
Continue to take advantage of the opportunities to learn like those the BCxA provides
Share what you learn
Have fun doing it

## Slide 67: Thanks for Listening! David Sellers Senior Engineer Facility Dynamics Engineering Dsellers@FacilityDynamics.com https://av8rdas.wordpress.com/ (Blog) https://www.av8rdas.com/ (Cx Resources Website)