## Sheet1
Instructions:
Develop the perfect economizer lines for an integrated and non-integrated economizer for a system with these characteristics
Nominal return air temperature - | 73 | °F (including gains)
Nominal mixed air set point - | 55 | °F
Outdoor air high limit set point - | 68 | °F
Minimum outdoor air percentage - | 20%
Location - | Minneapolis, Minnesota