## Slide 1: Existing Building Commissioning Workshop: Series 17, Session 1
Scoping and the Findings List
David Sellers
Senior Engineer, Facility Dynamics Engineering
Presented By:

## Slide 2: Connecting to David Sellers Poll Everywhere Account
We may be using Poll Everywhere during the class to foster interaction. Please take a few minutes ahead of the class or during the introduction to get yourself set up to use Poll Everywhere with my account.

## Slide 3: Get Connected with My Poll Everywhere
Via text messaging
Step 1
Text DAVIDSELLERS022 to 22333 (the hyphen gets inserted automatically on some phones)

## Slide 4: Get Connected with My Poll Everywhere
Via text messaging
Step 2
Receive confirmation that you have joined the session

## Slide 5: Get Connected with My Poll Everywhere
Via web browser
Step 1
Go to pollev.com/davidsellers022

## Slide 6: Get Connected with My Poll Everywhere
Via web browser
Step 1
Go to pollev.com/davidsellers022

## Slide 7: Get Connected with My Poll Everywhere
Via web browser or text messaging
Step 3
Wait for a poll question to come up

## Slide 8: A Few Resources

## Slide 9: An Overview Of What to Expect Moving Forward

## Slide 10: Your Progress To Date
Taken the RCx 101 Class
Begun to Become Familiar with the 10 Key Retrocommissioning Skills
Found or are Finding a Building
Obtaining Utility Data
Benchmarking Your Building

## Slide 11: Benchmarking; An Example

## Slide 12: Benchmarking; An Example
    Benchmarking compares the performance of your facility to that of similar facilities of a similar size, age, occupancy, and function that are located in a similar climate.

## Slide 13: Site vs. Source Energy
Site Energy
Source Energy

## Slide 14: Benchmarking Against CBECS via DOE Buildings Performance Database
https://bpd.lbl.gov/
Notes: https://bpd.lbl.gov/

## Slide 19: Next Month’s Assignment Derive the Virial Equation of State

## Slide 20: Next Month’s Assignment Derive the Virial Equation of State for Air
Apply it to the ISA PID Algorithm for an AHU as a Method to Assess Your Project’s Savings Potential

## Slide 21: Next Month’s Assignment Derive the Virial Equation of State
Take Your Utility Data to the Next Level
  Look at average daily consumption patterns
  Compare the patterns to common drivers
    Occupancy
    Climate
    Production

## Slide 22: What is Utility Consumption Analysis?
Utility consumption analysis looks for trends in utility consumption patterns that are indicators of opportunities to save resources. These patterns are also indicators of the persistence of benefits provided by past projects.

## Slide 23: Average Daily Energy Consumption Analysis
Compare average monthly patterns to potential drivers
    Heating and cooling degree days (http://www.weatherdatadepot.com/)
    Occupancy patterns
    Production
Critical considerations
    Data needs to be averaged over the days in the billing period
    Data needs to be normalized to the month not the billing period
Utility Consumption Analysis Tool (UCAT) will do the work for you (www.CACx.org)

## Slide 26: Leveraging the Utility Data
Use the utility data to “frame” your project
  Reverse engineer the savings potential from utility consumption, industry metrics and past experience
  Reverse engineer the over-all project budget from what is justified by the savings potential and the Owner’s financial metrics
  Reverse engineer budget line item amounts from past experience if needed
  Quantify risk by assessing the obvious

## Slide 27: Reverse Engineering the Savings Potential
Utility Consumption Analysis Tool (UCAT)
  Allows very quick assessments of utility consumption patterns based on billing data and use
LBNL Commissioning Cost and Benefit Reports
  Provides savings metrics for EBCx and other Cx processes
    General case median for EBCx is 16% reduction
      Upper limit – 31%
      Lower limit – 9%
    Includes metrics by building type too
Free download from www.CACx.org
  Select “Resources” then “Tools and Templates” then “Existing Building Cx”
Free download from http://cx.lbl.gov/
  Select Cost-Benefit Assessments
  2004 Assessment is the foundation
  2009 Assessment updates the 2004 report
  MBCx report focuses on the UC/CSU/IOU program
Resources

## Slide 28: Dental Clinic Annual Consumption

## Slide 29: Dental Clinic Project Budget Range

## Slide 31
Notes: Poll Title: Do not modify the notes in this section to avoid tampering with the Poll Everywhere activity. More info at polleverywhere.com/support How many of you have already looked at your buildings energy consumption pattern in some form? https://www.polleverywhere.com/multiple_choice_polls/i2LOpiFtWSJbTNRsDCEP9

## Slide 32
Notes: Poll Title: Do not modify the notes in this section to avoid tampering with the Poll Everywhere activity. More info at polleverywhere.com/support If you have looked at your energy patterns or walked the building or both, what are some of the clues you saw and targets that they are pointing you towards in terms of resources savings and performance improvements? https://www.polleverywhere.com/free_text_polls/tn2L4nkXveoBLGwNKbdsy

## Slide 33: Next Month’s Assignment Derive the Virial
Take Your Utility Data to the Next Level
  Maybe you should look for shapes in the clouds

## Slide 34
An Eagle over Cambridge, UK. © Christie Nel
Looking for Shapes in the Clouds

## Slide 35
This cloud's all Heart, spotted over Comologno, Switzerland. © Regula Irmann
Looking for Shapes in the Clouds

## Slide 36
A Cloud Revealing Something About Buildings. © JR Hott
Looking for Shapes in the Clouds

## Slide 37
A Cloud Revealing Something About Buildings. © JR Hott
Looking for Shapes in the Clouds

## Slide 38
A Cloud Revealing Something About Buildings. © JR Hott
Looking for Shapes in the Clouds

## Slide 39
A Cloud Revealing Something About Buildings. © JR Hott
Looking for Shapes in the Clouds

## Slide 40
A Cloud Revealing Something About Buildings. © JR Hott
Looking for Shapes in the Clouds

## Slide 41
A Cloud Revealing Something About Buildings. © JR Hott
Looking for Shapes in the Clouds
About equal to 1 chiller circuit running

## Slide 44
Looking for Shapes in the Clouds

## Slide 46
https://av8rdas.wordpress.com/2015/09/08/using-scatter-plots-to-assess-building-performancepart-4/

## Slide 47: Dialoging with the Atlanta Airport Marriott

## Slide 48: We’ll Be Dialoging with the Atlanta Airport Marriott
I’ve already started the discussion and am learning some pretty interesting things

## Slide 49: We’ll Be Dialoging with the Atlanta Airport Marriott
I’ve already started the discussion and am learning some pretty interesting things

## Slide 50: We’ll Be Dialoging with the Atlanta Airport Marriott
I’ve already started the discussion and am learning some pretty interesting things
$50,000 – $70,000 per year

## Slide 51: Bottom line
Com·mis·sion
kəˈmiSHən/Submit
Verb; Gerund or present participle: Commissioning
1. A process during which buildings are mentoring us about design

## Slide 52: Next Month’s Assignment
Get Out In Your Building and Start Looking Around

## Slide 53: Next Month’s Assignment Derive the Virial
Begin to Develop a Findings List
What is a findings list?
    Its what the retrocommissioning community typically calls the list of opportunities that are observed and targeted for resolution via the retrocommissioning process
As an airplane mechanic, I called this a “squawk list”
As a design engineer, I called this a “punch list”
As a new construction commissioning provider, I call this an “issues log”
As an organized person, I all this a “to do” list
  Bottom line – It will lead you to the target(s) you
  choose for your class assignment

## Slide 54: Resources for Identifying Targets
The Existing Building Commissioning Technical Guide

## Slide 55: Resources for Identifying Targets
RCx 101 Materials

## Slide 56: Resources for Identifying Targets
RCx 101 Materials
A Field Perspective on Engineering
  Retrocommissioning findings category
  Commissioning resources
  Class materials
www.Av8rdas.Wordpress.com

## Slide 57: Resources for Identifying Targets
RCx 101 Materials
A Field Perspective on Engineering
  Retrocommissioning findings category
  Commissioning resources
  Class materials
Facility owners and operators
  Know the facility
  Give credit where its due

## Slide 58: Resources for Identifying Targets
RCx 101 Materials
A Field Perspective on Engineering
  Retrocommissioning findings category
  Commissioning resources
  Class materials
Facility owners and operators
  Know the facility
  Give credit where its due

## Slide 59: Resources for Identifying Targets
RCx 101 Materials
A Field Perspective on Engineering
  Retrocommissioning findings category
  Commissioning resources
  Class materials
Facility owners and operators
  Know the facility
  Give credit where its due
Ryan, David, and other Mentors
  Caveat – You have to own it

## Slide 60: Resources for Identifying Targets
RCx 101 Materials
A Field Perspective on Engineering
  Retrocommissioning findings category
  Commissioning resources
  Class materials
Facility owners and operators
  Know the facility
  Give credit where its due
Ryan, David, and other Mentors
  Caveat – You have to own it
Your Smart Phone

## Slide 62: Resources for Identifying Targets
RCx 101 Materials
A Field Perspective on Engineering
  Retrocommissioning findings category
  Commissioning resources
  Class materials
Facility owners and operators
  Know the facility
  Give credit where its due
Ryan, David, and other Mentors
  Caveat – You have to own it
Your Smart Phone
… and the person in the reverse view camera in your Smart Phone

## Slide 63: Person in the Smart Phone Characteristics
Curious
  Comfortable with machinery
  Comfortable with details
Strong work ethic
  Task vs. hours oriented
  View not knowing something as an opportunity
Willing to get dirty
  Want to be out in the field
  Want to be “hands on”
Think logically
Familiar with fundamental physics
Believe in fundamental physics

## Slide 64: Logical Thinking and Fundamental Physics
Your everyday experiences expose you to fundamental physical principles
In the course of your day, you make logical decisions based on your knowledge of fundamental principles
Notes: Drop something – what do you expect will happen
Pour water into a full glass – what do you expect will happen

## Slide 65: More Fundamental Physics Visit www.Av8rdas.Wordpress.com for details
Notes: Drop something – what do you expect will happen
Pour water into a full glass – what do you expect will happen

## Slide 66
Notes: How does a tea pot work
  What happens when you heat the water
  What does the volume do

## Slide 67: Logic Even Works for Identifying Things

## Slide 69
Twisty thingy in a pipe that turns water on and off

## Slide 70
Twisty thingy in a pipe that turns water on and off

## Slide 71
Sweat

## Slide 72
Thing that has air moving through …
… a different thing that is wet

## Slide 73
Round thing on playground with vanes that flings kids when you spin it

## Slide 74
Round thing with vanes, inside a box with ducts attached to it, that flings air when you spin it

## Slide 75
Box that makes a whirring sort of noise with some louvers on the outside that have hot air coming out and other louvers on the inside that have cold air coming out

## Slide 76
Box that makes a whirring sort of noise with some louvers on it that have hot air coming out and pipes coming out of it that are cold and go into the building

## Slide 77: Sometimes You Have To “Connect the Dots”
Warm Pipe
Cold tub of water
Splashing Sound
Gravity
Fan
Pleasant Day (Cool Dry Air)
Hot, Humid Air

## Slide 78: Sometimes You Have Be Flexible and Bring a Flashlight

## Slide 79: Sometimes There Can be a Bit of Confusion Regarding Terminology
A Duck …

## Slide 80: Sometimes There Can be a Bit of Confusion
… is Not the Same as a Duct

## Slide 81: https://www.ashrae.org/technical-resources/free-resources/ashrae-terminology

## Slide 82: Being Able to Read Helps

## Slide 83: Being Able to Read Helps
So Does Having Internet Access

## Slide 85: Findings List Characteristics
It will grow as your familiarity with the facility grows

## Slide 86: Findings List Characteristics
It will grow as your familiarity with the facility grows
Initially, the findings are just theories

## Slide 87: Findings List Characteristics
It will grow as your familiarity with the facility grows
Initially, the findings are just theories
Some of them are just logical observations

## Slide 88
This machine makes heat …
… and this machine needs to be kept below 85°F

## Slide 89
Currently, this machine keeps it below 85°F …

## Slide 90
… buy on the other side of this wall, it’s Denver…

## Slide 91
… buy on the other side of this wall, it’s Denver…
… and on the other side of this wall is a machine that is pumping 100% outdoor air into the building

## Slide 92: Findings List Characteristics
It will grow as your familiarity with the facility grows
Initially, the findings are just theories
Some of them are just logical observations

## Slide 93: Sometimes the Math Leads You To Something
Pump Energy Equation
Sensible Load Equation

## Slide 94: Findings List Characteristics
It will grow as your familiarity with the facility grows
Initially, the findings are just theories
Some of them are just logical observations

## Slide 95: Findings List Characteristics
It will grow as your familiarity with the facility grows
Initially, the findings are just theories
Some of them are just logical observations
Some will come from discussions with the operators

## Slide 96: Findings List Characteristics
It will grow as your familiarity with the facility grows
Initially, the findings are just theories
Some of them are just logical observations
Some will come from discussions with the operators
Some will just be common sense

## Slide 97: Findings List Characteristics
It will grow as your familiarity with the facility grows
Initially, the findings are just theories
Some of them are just logical observations
Some will come from discussions with the operators
Some will just be common sense
Some will come from applying common sense outside the box