## Slide 1: Developing a System Diagram in the Field

## Slide 2: Developing a System Diagram in the Field
The slides that follows contain the distribution loop portion of the Hijend Hotel chilled water system in the central plant. The video series at this link/QR code illustrates how the diagram was developed.
https://tinyurl.com/HijendCPCHWDIstLpDgm
Take the distribution loop diagram and add the evaporator pump loops to it to complete the system diagram for the central plant chilled water system at the Hijend Hotel.
There are images from the central plant model in the slides after the distribution loop portion of the diagram that you can use. But you will find a video fly-through and links to the actual model that you can also use to support your effort at this link/QR code.
https://tinyurl.com/HijendEvapLoopFlyThru

## Slide 3: The Starting Point
The distribution loop as traced out in the field

## Slide 4: The Starting Point
VF-1 Elec. Rm.
SD
TDV
SD
TDV
1,100 gpm @ 90 ft.w.c., 40 hp (Typical)
D
A
42.5 gpm from 42.0°F to 54°F, 9.8 ft.w.c. Δ p, 22.1 tons
Hijend Hotel CHW System Diagram
Sheet 1
The distribution loop as traced out in the field and then cleaned up and detail added
B
C
Evaporator pumps connect here
Evaporator pumps connect here