## Slide 1: Existing Building Commissioning Workshop: Series 17, Session 3
Monitoring Plans
David Sellers
Senior Engineer, Facility Dynamics Engineering
Presented By:

## Slide 2: Self Study; Where You Should Be
Skills Guidebook
Checklist

## Slide 3: Self Study; Where You Should Be Headed
Skills Guidebook
Checklist

## Slide 4: Self Study; Where You Should Be Headed
Skills Guidebook
Checklist

## Slide 5: Functional Testing Resources
Resources linked from the technical guide
Resources on the Commissioning Resources Website
  https://www.av8rdas.com/functional-testing-guide.html
  Review the Functional Testing Basics chapter
Resources on the blog
  https://av8rdas.wordpress.com/?s=functional+testing

## Slide 6: Functional Testing Resources
Resources linked from the technical guide
Resources on the Commissioning Resources Website
  https://www.av8rdas.com/functional-testing-guide.html
  Review the Functional Testing Basics chapter
Resources on the blog
  https://av8rdas.wordpress.com/?s=functional+testing

## Slide 7: Functional Testing Resources
Resources linked from the technical guide
Resources on the Commissioning Resources Website
  https://www.av8rdas.com/functional-testing-guide.html
  Review the Functional Testing Basics chapter
Resources on the blog
  https://av8rdas.wordpress.com/?s=functional+testing

## Slide 8: Functional Testing Resources
Resources linked from the technical guide
Resources on the Commissioning Resources Website
  https://www.av8rdas.com/functional-testing-guide.html
  Review the Functional Testing Basics chapter
Resources on the blog
  https://av8rdas.wordpress.com/?s=functional+testing

## Slide 9: Continue to Review the Logic Diagram Resources
To prepare for the next class, visit the Logic Diagram Tool page of the Commissioning Resources website
https://www.av8rdas.com/logic-diagram-tool.html
Download the Logic Diagram Tool file
Download the Logic Diagram Symbols file
Review the Logic Diagram Symbols file as time permits and be prepared to ask questions
Download and explore the other resources as time and interest permits

## Slide 10: Why Study Logic and Control Systems?
The vast majority of commissioning opportunities involve resolving issues with control systems or making changes to them

## Slide 11: Why Study Logic Diagrams?
The vast majority of commissioning opportunities involve resolving issues with control systems or making changes to them
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 12: Why Study Logic Diagrams?
Logic diagrams allow us to clearly communicate how we want our control systems to manage our building systems
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 13: Why Now?
You are about to start logging data on your projects
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 14: Why Now?
  Control systems can be data loggers
  Data loggers and control systems both use inputs
  Data loggers can supplement control systems if points are missing
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 15: Monitoring Plans Document Logging Requirements
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 16: Monitoring Plans Document Logging Requirements
Visit www.av8rdas.com for a monitoring plan tool
(Go to https://tinyurl.com/PVequalsmRT for more pictures and videos from the balloon flight)

## Slide 17: Coming to a Cx Resources Website Near You
Will provide more depth for those who are interested
Our goal today is to get you going on your monitoring plans
  Demonstrate how using the Hijend Hotel CW system
  Let you try your hand using the Hijend Hotel CHW system
  Expand the concepts using the Hijend Hotel Ball Room AHU

## Slide 18: Monitoring Plan Targets
Firm up (or not) opportunities identified during scoping
Provide data
  Support more detailed investigations
    Diagnostics and trouble shooting
    Calculations
    Looking for common opportunities
      Are schedules actually working?
      Are VAV systems VAVing?
      Are optimization strategies working?
  Support expansion of the findings list
  Support cost benefit assessments
  Support verification

## Slide 19: A Few Resources
Monitoring Plan Template (blank and a filled-out example)
https://www.av8rdas.com/monitoring-plan-spreadsheet.html
Monitoring Plan Blog Posts
https://av8rdas.wordpress.com/2008/10/14/developing-a-monitoring-plan-the-first-step-in-data-logger-deployment/
https://av8rdas.wordpress.com/2008/10/15/my-data-logging-monitoring-plan-one-more-thing/
Data Logging Resources
https://www.av8rdas.com/data-logging-resources.html
https://av8rdas.wordpress.com/category/data-logging/page/3/