## Set-up Option 3
Instructions
1 | Enter the appropriate field data into the yellow cells and conditionally format them to make carpet plots showing temperature and velocity variations across the plenum.
2 | Enter formulas in the orange cells to use the data to calculate the average temperature and velocity, the flow per filter, the total flow, and the mass weighted averge temperature.
Temperature Analysis, Temperature and Velocity Carpet Plots
|  |  | Average Temperature - |  | °F |  |  | Average Velocity - |  | fpm
|  | Column 1 | Column 2 | Column 3 | Column 4 |  | Column 1 | Column 2 | Column 3 | Column 4
| Row 1 Temperature, °F |  |  |  |  | Row 1 Velocity, fpm
| Row 2 Temperature, °F |  |  |  |  | Row 2 Velocity, fpm
| Row 3 Temperature, °F |  |  |  |  | Row 3 Velocity, fpm
Filter width, in
Velocity and Flow Analysis
|  |  | Total Flow - |  | cfm
|  | Column 1 | Column 2 | Column 3 | Column 4
Row 1 Flow, cfm
Row 2 Flow, cfm
Row 3 Flow, cfm
Mass Weighted Temperature Analysis
|  |  | Total Flow x Temperature - |  | cfm °F
|  |  | Mass weighted mixed air temperature - |  | °F
|  | Column 1 | Column 2 | Column 3 | Column 4
Row 1 Flow x Temperature
Row 2 Flow x Temperature
Row 3 Flow x Temperature