## Sheet1
Flow | 1100 | gpm
Head | 40 | ft.w.c.
Pump Efficiency | 81.5%
bhp | 13.6333 | bhp
Motor Efficiency | 89.3%
Drive Efficiency | 100% | (No VFD)
hp | 15.2668 | Hp
kW | 11.389 | kW
hours below 52°F | 1872 | (San Francisco)
kWh | 21320.2894 | kWh
| 0.1621 | per kWh
Annual Savings | 3456.0189