## Slide 1: EBCx Project Review
David Sellers, Facility Dynamics Engineering
Senior Engineer
2023-12-08

## Slide 2: Our Focus for Today
I am interested in learning a specific RCx measure, i.e. duct static pressure setpoint reset. I have been seeing buildings implementing this measure to claim savings, but they all do differently. The most common way the buildings claim the measure verification is by showing the baseline high DSP setpoint and the post-RCx lower DSP setpoint.

## Slide 3: Our Focus for Today
How to identify the building or system where the DSP reset is a solution for energy savings?
How to identify the zone that is suitable for installing the pressure sensor. The procedure involved in this measure implementation.
The data collection involved. Data analysis to verify that the measure is implemented as intended.

## Slide 4: Our Focus for Today
I am interested in learning a specific RCx measure, i.e. duct static pressure setpoint reset. I have been seeing buildings implementing this measure to claim savings, but they all do differently. The most common way the buildings claim the measure verification is by showing the baseline high DSP setpoint and the post-RCx lower DSP setpoint.

## Slide 5: Defining the Problem
I am interested in learning a specific RCx measure, i.e. duct static pressure setpoint reset. I have been seeing buildings implementing this measure to claim savings, but they all do differently. The most common way the buildings claim the measure verification is by showing the baseline high DSP setpoint and the post-RCx lower DSP setpoint.

## Slide 6: What Does DSP Mean?
DSP Digital Signal Processing
DSP Digital Signal Processor
DSP Display
DSP Delaware State Police
DSP Delta Sigma Pi (business fraternity)
DSP Délégation de Service Public (French: Delegation of Public Service)
DSP Demand Side Platform (Internet advertising)
DSP Defense Support Program (US DoD satellite system)
DSP Digital Scrapbook Place
DSP Darksydephil (gaming)
DSP Digital Sound Processing
DSP Disability Support Pension
DSP Discrepancy
DSP Duplex Speaker Phone
DSP Differential Signal Processing (semiconductors)
DSP Dynamic Shift Program (Audi)
DSP Disabled Students Program
DSP Developer Studio Project (Microsoft file extension)
DSP Domain Specific Part
DSP Delivery Service Partner (various companies)
DSP Democratic Left Party (Turkey)
DSP Deputy Superintendent of Police
DSP Data Services Platform
DSP Display Support Protocol
DSP Dainippon Sumitomo Pharma (Japan)
DSP Developer Service Plans
DSP Document Storage Processor
DSP Digital Sound Package
DSP Dynamic Studio Professional Module
DSP Dynamic Shift Program
DSP Drive Slave Present
DSP Disable Saving Parameters
DSP Down Stream Physical
DSP Digital Studio Picture
DSP Display Parameters
DSP Data Stream Protocol
DSP Display System Protocol
DSP Developer Studio Project
DSP Display Select Panel
DSP Data Security Professional
DSP Driver Safety Program (various locations)
DSP Depository Services Program
DSP Democratic Socialist Party (Australia)
DSP Desmoplakin
DSP D Street Prepared (Sports Car Club of America)
DSP Dispute Settlement Procedure (World Trade Organization)
DSP Delta Sigma Phi (fraternity)
DSP Demokratik Sol Parti (Turkish: Democratic Left Party)
DSP Division of Special Programs (various schools)
DSP Defense Standardization Program
DSP Disodium Phosphate
DSP Directory System Protocol
DSP Du Sol au Plafond (French painting company)
DSP Dalton Strategic Partnership (investment management firm)
DSP Data Solutions Provider
DSP Distribution Point
DSP Diritti Speciali di Prelievo (Italia: Special Drawing Rights; currency)
DSP Directeur des Services Pénitentiaires (French: Director of Prison Services)
DSP Designated Suppliers Program
DSP Durgapur Steel Plant (India)
DSP Dentin Sialoprotein
DSP Detailed Scheduling and Planning
DSP Dubai Strategic Plan (Dubai, United Arab Emirates)
DSP Delley Semences et Plantes (French: Delley Seeds and Plants; Switzerland)
DSP Dipartimento di Studi Politici (Italian: Department of Political Studies)
DSP Data Source Plugin
DSP Digital Service Provider
DSP Distinguished Speakers Program
DSP Dominant Social Paradigm
DSP Defense Satellite Program (US DoD)
DSP Devon Structure Plan (UK)
DSP Decessit Sine Prole (Latin: Died Without Issue)
DSP Diversity Scholarship Program (National Trust for Historic Preservation)
DSP Digital System Processor
DSP Deep Space Probe
DSP Dye Sublimation Printing
DSP Diastasis Symphysis Pubis
DSP Delivery Service Pack
DSP Display System Protocol (packet switching)
DSP Day Shift Problem
DSP Developer Service Provider
DSP Decision Support Package
DSP Discovery Solutions Practice (LeClairRyan)
DSP Decentralization Support Programme (Pakistan)
DSP Direct Service Professional (social service)
DSP Disfunción del Suelo Pélvico (Spanish: Pelvic Floor Dysfunction)
DSP Detailed Site Plan
DSP Digital Speckle-Pattern Interferometry
DSP Demand Supply Planning (various companies)
DSP Drill Sergeant Program
DSP Department of State Proforma (International Traffic In Arms Regulation)
DSP Document Services for Printing
DSP Director's Special
DSP Direct Stock Plans
DSP Departure Sequencing Program
DSP Dilute Sulfuric Peroxide (dilute sulfuric acid and hydrogen peroxide mixture)
DSP Dossier de Soins Personnalisé (French: Custom Care Kit)
DSP Dual Slant Pole (telecommunications)
DSP Dall'Olmo Sport Passion (French automobile racing)
DSP Dawnshroud Peaks (Everquest game)
DSP Diplomatic Service Procedure (UK)
DSP Dalit Solidarity Peoples (human rights group)
DSP Dynamic Support Program (IBM)
DSP Daughters of Saint Paul (religious community)
DSP Distinguished Service Professorship
DSP Double Side Polishing (wafer, glass, metal)
DSP Direct Support Platoon (US Army)
DSP Document Stratégique Pays (French: Country Strategy Paper)
DSP Digital Signal Protocol
DSP Drshnaps Productions (webcomic database)
DSP Design Specification Package
DSP District Superintendent Police
DSP Designated Stock Point
DSP Drift Start Position
DSP Defense Sourcing Portfolio (est. 2008; US DoD)
DSP Decompression Sickness Panel
DSP Donor Submission Portal (US Pharmacopeial Convention)
DSP Division of the State Police
DSP Designated Sender Protocol (email)
DSP Disaster Support Package (FEMA)
DSP Distributed Staff Program
DSP Dell Service Provide
DSP Dessertspoon/Dessertspoonful
DSP Dealer Service Portal
DSP Depot Spare Parts
DSP Distribution Software Publishers
DSP Dedicated Sub-Path
DSP Depot Storage Point
DSP Dual Screen Playstation (Nintendo DS emulator)
DSP Daikin Synchronised Power (Daikin Air Conditioners)
DSP Digital Signature Signing Process
DSP Department of Student Preparation (University of Texas at San Antonio)
DSP Design Services Procedures
DSP Dialogue Social dans les Postes (French: Social Dialogue in the Post)
DSP DoD (Department of Defense) Standardized Profile (US DoD)
DSP Devon and Somerset Police
DSP Defensive System Panel (US DoD)

## Slide 8: Inputs and Outputs – The Field Perspective
Tab 4-3
Sensor Issues

## Slide 9: Why Transmitters?
Effect of temperature change on RTD measurements on a rooftop unit where the conduit is run outdoors in the Midwest
  Minimum temperature - minus 20°F
  Maximum temperature - 105°F (assuming no solar effects)
  Temperature change - 125°F or 69°C
  Resistance temperature coefficient for copper - 0.0043 ohms per ohm per °C
For the temperature variability stated, the corresponding change in RTD resistance is 0.98 ohms.
This change in resistance translates to a 0.37°F change in indicated temperature due to the outdoor temperature change