## Slide 1: 2020 RCx Academy Week 3 Pumping Systems
27 MAY 2020

## Slide 3: This is Cool
Free iPhone app from Motionics
https://apps.apple.com/us/app/strobe-light-tachometer/id978182913

## Slide 4: Pipe Diameter from Circumference

## Slide 5: Pipe Diameter from Circumference

## Slide 6: Pump Power Equation

## Slide 8: Some Dimensions
20’ Center Lines
25’ Center Lines

## Slide 9: Some Dimensions
18’ Slab to bottom of slab above

## Slide 10: A Few Friction Factors
8 inch pipe at the design flow rate

## Slide 11: A Few Friction Factors
8 inch pipe at the maximum recommended velocity (10 ft/sec)

## Slide 12: A Few Friction Factors
8 inch pipe at the maximum recommended friction rate (4 ftwc/100 ft)

## Slide 13: Some Chiller Data

## Slide 14: Some Chiller Data

## Slide 15: A Few Rules of Thumb
If you know the linear feet of pipe, if you multiply that by a factor of 1.5 to 2.0, you will end up with a number representing the equivalent feet of pipe for HVAC systems that includes things like the valves, fittings, etc.
Use engineering judgement
  Straight run with no fittings = multiplier of 1.0
  A run with a few fittings = multiplier of 1.5
  A run with a significant number of fittings = multiplier of 2.0
  A run with a crazy number of fittings = multiplier in excess of 2.0
  Remember, its an estimate, not an exactimate

## Slide 16: Pump Head Estimate

## Slide 17: System Curves from the Square Law (Slide 22)

## Slide 18: System Curves on Pump Curves

## Slide 19: The Pump Curve

## Slide 21: The System Curve

## Slide 22: The System Curve

## Slide 23: Pump Test Results

## Slide 24: Pump Test Results
Suction Pressure

## Slide 25: Pump Test Results
Discharge Pressure

## Slide 26: Pump Test Results
Speed

## Slide 27: Motor Slip vs Load