## Sheet1
Equipment | Full Load Tons | Full Load kW | Full Load kW/Ton | % of Full Load kW | Variation with Load | Nature of variation
Chiller 1 | 550 | 286 | 0.52 | 38.11% | yes | TBD
Chiller 2 | 550 | 309.2 | 0.56218 | 41.21% | yes | TBD
Evaporator Pump 1 |  | 10.1456 |  | 1.352% | no
Evaporator Pump 2 |  | 10.1456 |  | 1.352% | no
Distribution Pump 1 |  | 25.8862 |  | 3.45% | yes | affinity law
Distribution Pump 2 |  | 25.8862 |  | 3.45% | yes | affinity law
Condenser Pump 1 |  | 30.3622 |  | 4.046% | no
Condenser Pump 2 |  | 30.3622 |  | 4.046% | no
Cooling Tower 1 |  | 11.19 |  | 1.491% | yes | TBD
Cooling Tower 2 |  | 11.19 |  | 1.491% | yes | TBD
Total | 1100 | 750.368 | 0.68215